{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["工程標單總表","工程標單詳細表","OA標單詳細表"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":7,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"工程標單總表","index":0,"n_rows":36,"n_cols":25,"rows_kept":36,"cut":false,"hidden":false,"merged":[[34,1,34,6],[35,1,35,6],[31,0,31,6],[32,1,32,6],[33,1,33,6],[30,0,30,6],[7,1,7,4],[5,1,5,4],[0,0,0,6],[1,0,1,6],[3,1,3,3],[3,5,3,6],[4,1,4,3],[4,5,4,6],[6,1,6,4],[12,1,12,4],[14,1,14,4],[15,1,15,4],[8,1,8,4],[16,1,16,4],[9,1,9,4],[10,1,10,4],[11,1,11,4],[13,1,13,4],[28,1,28,4],[29,1,29,4],[24,1,24,4],[17,1,17,4],[18,1,18,4],[19,1,19,4],[20,1,20,4],[25,1,25,4],[26,1,26,4],[27,1,27,4]],"flags":["formulas_cached_only"]}
["衛生福利部食品藥物管理署",{"$nulls":23},"4.3.1000.210"]
["工程標單總表"]
[]
["工程名稱","108年度「國家生技研究園區F棟辦公室空間整修」"]
["施工地點","國家生技研究園區F棟"]
["項 次","工  作  項  目",null,null,null,"金額(元)","備註"]
["壹","工程費"]
["一","3F裝修工程費"]
["二","4F裝修工程費"]
["三","5F裝修工程費"]
["四","6F裝修工程費"]
["五","7F裝修工程費"]
[null,"工程費小計"]
["貳","室裝竣工申請費（含消防竣工）"]
["參","職業安全衛生管理費 0.5%"]
["肆","工程品質管理費 0.6%"]
["伍","管理及利潤費及雜項費 6.5%"]
["陸","保險費0.3%"]
[null,"小計(壹~陸)"]
["柒","營業稅 5%"]
[null,"總價(總計)"]
{"$rows_empty":9}
["總計新台幣：                                            元整."]
["(請蓋公司章及負責人章)"]
["廠商:"]
["負責人:"]
["地址:"]
["電話："]

{"sheet":"工程標單詳細表","index":1,"n_rows":383,"n_cols":15,"rows_kept":383,"cut":false,"hidden":false,"merged":[[377,0,377,6],[378,0,378,6],[379,1,379,6],[380,1,380,6],[381,1,381,6],[382,1,382,6],[0,0,0,6],[1,0,1,6],[3,1,3,3],[3,5,3,6],[4,1,4,3],[4,5,4,6]],"flags":["formulas_cached_only"]}
["衛生福利部食品藥物管理署"]
["工程標單詳細表"]
[]
["工程名稱","108年度「國家生技研究園區F棟辦公室空間整修」"]
["施工地點","國家生技研究園區F棟"]
["項 次","項  目  及  說  明","單 位","數 量","單 價","複 價","編碼(備註)"]
["壹","工程費"]
["一","3F裝修工程費"]
["(一)","拆除工程"]
["1","保護工程//含電梯及梯廳","式",1]
["2","施工圍籬","式",1]
["3","既有不鏽鋼單開門框及門扇拆除保留","式",1]
["4","既有橫拉鋁窗拆除","式",1]
["5","隔間拆除","式",1]
["6","垃圾搬運工資","工",4]
["7","垃圾處理費","車",1]
[null,"小計"]
["(二)","輕鋼架工程"]
["1","新作輕隔間牆修補/15mm石膏板","式",1]
["2","輕鋼架天花更換吸音板(白色)","坪",7]
[null,"小計"]
["(三)","系統櫃工程"]
["1","L210cm系統上下櫃/拆除,搬運及組裝","工",3,{"$nulls":9}," "," "]
[null,"小計"]
["(四)","金屬工程"]
["1","既有不鏽鋼單開門框及門扇安裝(玻璃門扇面貼霧面膠膜)","式",1]
[null,"小計"]
["(五)","壁面工程"]
["1","吸音壁布","才",143]
[null,"小計"]
["(六)","水電工程"]
["1","燈具開關移位/2.0*2+E1.6","迴",1]
["2","新增110V電源配線5.5*2+E2.0","迴",1]
["3","OA桌3孔插座及配線","只",8]
["4","EMT管及五金配件","式",1]
["5","金屬防水軟管含配件(理線架及模組式配線面板同現況)","M",10]
["6","配管配線工資","工",3]
[null,"小計"]
["(七)","弱電工程"]
["1","CAT.6/4P UTP CABLE","M",500]
["2","CAT.6-RJ45 Key Stone Module(型號同現況)","只",12]
["3","資通訊插座(型式同現況)","只",12]
["4","現場端用跳線面板(CAT.6-24 PORT)(型式同現況)","支",1]
["5","CAT.6 UTP PATCH CORD-2m","條",12]
["6","CAT.6 UTP PATCH CORD-3m","條",12]
["7","佈線工資","工",2]
["8","配線另料及運雜","式",1]
["9","測試(含測試報告)及竣工文字製作","式",1]
["10","金屬防水軟管","M",40]
["11","出線盒","只",4]
["12","配管工資","工",2]
["13","配管另料(含管接、彎頭及盒接)及雜運","式",1]
["14","地面壓條","式",1]
["15","門禁系統設備//含陽極鎖,刷卡機,出門按鈕","式",1]
["16","門禁系統配線及安裝,測試","式",1,null,null,"不含門禁設備"]
[null,"小計"]
["(八)","油漆工程"]
["1","壁面批土打磨刷綠建材水泥漆","式",1]
[null,"小計"]
["(九)","地鋪面工程"]
["1","面鋪方塊吸音地毯(防焰認證)","才",252]
["2","踢腳板及滿鋪PVC地坪修補","式",1]
[null,"小計"]
["(十)","清潔工程"]
["1","施工區域清潔工程","M2",23]
[null,"小計"]
[null,"3F裝修工程費小計"]
[]
["二","4F裝修工程費"]
["(一)","拆除工程"]
[1,"保護工程//含電梯及梯廳","式",1]
[2,"施工圍籬","式",1]
[null,"小計"]
["(二)","水電工程"]
[1,"既有屏風110V電源插座及配線拆除","式",1]
[2," 二線控燈具開關改移配線","迴",2]
[3,"舊燈具改移配線","盞",16]
[4,"舊燈具移裝","盞",16]
[5,"新增110V電源配線5.5*2+E2.0","迴",2]
[6,"新增3孔插座*5+專用插座'*1//含配線","只",6]
[7,"EMT管及五金配件","式",1]
[8,"金屬防水軟管含配件","M",40]
[9,"配管配線工資","工",4]
[null,"小計"]
["(三)","弱電工程"]
[1,"CAT.6/4P UTP CABLE","M",150]
[2,"CAT.6-RJ45 Key Stone Module(型號同現況)","只",2]
[3,"資通訊插座(型號同現況)","只",2]
[4,"現場端用跳線面板(CAT.6-24 PORT)(型號同現況)","支",1]
[5,"CAT.6 UTP PATCH CORD-2m","條",2]
[6,"CAT.6 UTP PATCH CORD-3m","條",2]
[7,"佈線工資","工",2]
[8,"配線另料及運雜","式",1]
[9,"測試(含測試報告)及竣工文字製作","式",1]
[10,"金屬防水軟管","M",20]
[11,"出線盒","只",1]
[12,"配管工資","工",2]
[13,"配管另料(含管接、彎頭及盒接)及雜運","式",1]
[null,"小計"]
["(四)","既有辦公家具工程"]
[1,"既有塊狀屏風拆除","式",1]
[null,"小計"]
["(五)","輕鋼架工程"]
[1,"新作輕隔間/玻璃帷幕與單玻璃系統收邊","式",2]
[2,"9.5公分厚-雙玻系統隔間/骨架","M2",82.8]
[3,"5mm強化清玻","M2",15.4]
[4,"5mm清玻內置百葉","M2",61.8]
[5,"12mm石膏板貼皮","M2",16.6]
[6,"5mm強化噴砂玻璃門+鋁框","樘",2]
[null,"小計"]
["(六)","木作工程",{"$nulls":9},"∶"]
[1,"新增窗邊吧檯桌/面貼美耐板/實木收邊","尺",31]
[null,"小計"]
["(七)","油漆工程"]
[1,"壁面批土打磨刷綠建材水泥漆","式",1]
[2,"吧檯桌//收邊油漆","尺",31]
[null,"小計"]
["(八)","系統櫃工程"]
[1,"L240cm系統下櫃*2組//拆除,搬運及組裝","工",4]
[null,"小計"]
["(九)","消防工程"]
["1","防煙垂壁修改(遇隔間處)","式",1]
[null,"小計"]
["(十)","清潔工程"]
[1,"施工區域清潔工程","M2",148]
[null,"小計"]
[null,"4F裝修工程費小計"]
[]
["三","5F裝修工程費"]
["(一)","拆除工程"]
[1,"保護工程//含電梯及梯廳","式",1]
[2,"施工圍籬","式",1]
[3,"現有家具搬遷","工",5]
[null,"小計"]
["(二)","系統櫃工程"]
[1,"L240cm系統下櫃*2組//拆除,搬運及組裝","工",4]
[2,"L80cm系統下櫃*1組//拆除,搬運及組裝","工",1]
["3","L150cm系統下櫃*2組//拆除,搬運及組裝","工",2]
["4","L200cm系統下櫃*1組//拆除,搬運及組裝","工",2]
[null,"小計"]
["(三)","既有辦公家具工程"]
["1","現有屏風桌板拆除","只",2]
["2","剩餘屏風家具搬遷","式",1]
["3","既有塊狀屏風拆除","式",1]
["4","既有塊狀屏風組裝(約40片)","式",1]
[null,"小計"]
["(四)","水電工程"]
[1,"新增110V電源配線5.5*2+E2.0","迴",5]
[2,"OA桌3孔插座及配線","只",34]
[3,"新增燈具迴路//2.0*2+E1.6","迴",1]
[4,"燈具配管及配線","盞",10]
[5,"燈具安裝","盞",10]
[6,"輕鋼架燈具//T5 28W*3 6500K","盞",10,null,null,"同現場燈具"]
[7,"EMT管及五金配件","式",1]
[8,"金屬防水軟管含配件","M",80]
[9,"配管配線工資","工",12]
[null,"小計"]
["(五)","弱電工程"]
[1,"CAT.6/4P UTP CABLE","M",4320]
[2,"CAT.6-RJ45 Key Stone Module(型號同現況)","只",68]
[3,"資通訊插座(型號同現況)","只",68]
[4,"現場端用跳線面板(CAT.6-24 PORT)(型號同現況)","支",2]
[5,"CAT.6 UTP PATCH CORD-2m","條",68]
[6,"CAT.6 UTP PATCH CORD-3m","條",68]
[7,"24-port L2 Switch","只",2,null,null," "]
[8,"佈線工資","工",12]
[9,"配線另料及運雜","式",1]
[10,"測試(含測試報告)及竣工文字製作","式",1]
[11,"金屬防水軟管","M",680]
[12,"出線盒","只",34]
[13,"配管工資","工",7]
[14,"配管另料(含管接、彎頭及盒接)及雜運","式",1]
[null,"小計"]
["(六)","油漆工程"]
[1,"壁面批土打磨刷綠建材水泥漆","式",1]
[null,"小計"]
["(七)","清潔工程"]
[1,"施工區域清潔工程","M2",109]
[null,"小計"]
[null,"5F裝修工程費小計"]
[]
["四","6F裝修工程費"]
["(一)","拆除工程"]
[1,"保護工程//含電梯及梯廳","式",1]
[2,"施工圍籬","式",1]
[3,"現有家具搬遷","工",4]
[null,"小計"]
["(二)","系統櫃工程"]
[1,"L80cm系統下櫃*1組//拆除,搬運及組裝","工",1]
[2,"L240cm系統下櫃*2組//拆除,搬運及組裝","工",2]
[null,"小計"]
["(三)","既有辦公家具工程"]
["1","現有塊狀屏風拆除","只",13]
["2","現有塊狀屏風組立","只",11]
["3","現有OA調整為2.5公分鋼製薄型屏風辦公桌//桌板140W 70D+側桌100W45D//含走線槽150W(拆裝含配件損料)","組",12]
["4","現有OA調整為2.5公分鋼製薄型屏風辦公桌//桌板160W 70D+側桌120W45D//含走線槽150W(拆裝含配件損料)","組",1]
["5","屏風走線柱//H:270","只",2]
["6","剩餘屏風家具搬遷至業主指定地點","工",4,null,null,"園區範圍內"]
[null,"小計"]
["(四)","玻璃隔間工程"]
["1","9.5公分厚-單玻系統隔間//骨架","M2",65]
["2","5mm強化清玻","M2",26]
["3","5mm強化噴砂玻璃","M2",35]
["4","5mm強化噴砂玻璃門+鋁框","樘",2]
[null,"小計"]
["(五)","水電工程"]
[1," 二線控燈具開關改移配線","迴",4]
[2," 二線控制//電源迴路調整配線","迴",6]
[3,"新增燈具迴路//2.0*2+E1.6","迴",1]
[4,"燈具配管及配線","盞",10]
[5,"輕鋼架燈具//T5 28W*3 6500K","盞",10,null,null,"同現場燈具"]
[6,"燈具安裝","盞",10]
[7,"舊燈具改移配線","盞",8]
[8,"新增110V電源配線5.5*2+E2.0","迴",3]
[9,"OA桌3孔插座*19+專用插座*1//配線","只",20]
[10,"EMT管及五金配件","式",1]
[11,"金屬防水軟管含配件","M",60]
[12,"配管配線工資","工",3]
[null,"小計"]
["(六)","弱電工程"]
[1,"CAT.6/4P UTP CABLE","M",1850]
[2,"CAT.6-RJ45 Key Stone Module(型號同現況)","只",34]
[3,"資通訊插座","只",34]
[4,"現場端用跳線面板(CAT.6-24 PORT)(型號同現況)","支",1]
["5","佈線工資","工",7]
["6","配線另料及運雜","式",1,{"$nulls":6}," "]
["7","測試(含測試報告)及竣工文字製作","式",1,{"$nulls":6}," "]
["8","金屬防水軟管","M",150,{"$nulls":6}," "]
["9","出線盒","只",14]
["10","配管工資","工",3]
["11","配管另料(含管接、彎頭及盒接)及雜運","式",1]
["12","604室新增投影機吊架及安裝//含110V插座+HDMI+VGA線路","式",1,null,null,"不含投影機"]
["13","多功能區新增電動投影機120吋布幕//吊架及安裝//含110V電源插座","式",1]
[null,"小計"]
["(七)","輕鋼架工程"]
[1,"新作輕隔間//玻璃帷幕與雙玻璃系統收邊","式",2]
[null,"小計"]
["(八)","木作工程"]
[1,"新增窗邊吧檯桌","尺",25]
[2,"新增窗邊吧檯桌","尺",17]
[null,"小計"]
["(九)","油漆工程"]
[1,"壁面批土打磨刷綠建材水泥漆","式",1]
[null,"小計"]
["(十)","傢俱及家飾工程"]
[1,"防焰捲簾","才",224]
[null,"小計"]
["(十一)","消防工程"]
["1","防煙垂壁修改(遇隔間處)","式",1]
[null,"小計"]
["(十二)","清潔工程"]
[1,"施工區域清潔工程","M2",148]
[null,"小計"]
[null,"6F裝修工程費小計"]
[]
["五","7F裝修工程費"]
["(一)","拆除工程"]
[1,"保護工程//含電梯及梯廳","式",1]
[2,"施工圍籬","式",1]
[3,"輕鋼架天花拆除","式",1]
[4,"輕隔間拆除","式",1]
[5,"現有家具搬遷","工",8]
[null,"小計"]
["(二)","系統櫃工程"]
[1,"L240cm系統上下櫃*1組//拆除,搬運及組裝或運棄","工",2]
[2,"L220cm系統上下櫃*1組//拆除,搬運及組裝或運棄","工",2]
[3,"L160cm系統上下櫃*1組//拆除,搬運及組裝或運棄","工",2]
[4,"L80cm系統下櫃*1組//拆除,搬運及組裝或運棄","工",1]
[5,"L240cm系統上下櫃*6組//拆除,搬運及組裝及組裝或運棄","工",7]
[6,"L220cm系統上下櫃*1組//拆除,搬運及組裝","工",2]
[7,"L160cm系統上下櫃*1組//拆除,搬運及組裝或運棄","工",2]
[8,"L290cm系統上下櫃*1組//拆除,搬運及組裝或運棄","工",2]
[9,"L175cm系統上下櫃*1組//拆除,搬運及組裝或運棄","工",2]
[10,"L80cm系統上下櫃*1組//拆除,搬運及組裝或運棄","工",1]
[null,"小計"]
["(三)","空調工程"]
[1,"空調開關拆除","只",12]
[2,"空調開關配管配線及移位安裝","只",12]
[null,"小計"]
["(四)","輕鋼架工程"]
[1,"新作輕鋼架明架天花","M2",148,null,null,"同現場型式"]
[null,"小計"]
["(五)","水電工程"]
[1,"既有燈具拆除","組",24]
[2,"既有隔間電源插座及配線拆除","式",1]
[3,"開關箱改移//四合一連組式箱體","組",1,null,null,"380V/220V/208V/120V"]
[4,"開關箱改移//單連式  208/120 箱體","組",1]
[5,"電源線延配 PEX 14*4芯 22M","迴",1]
[6,"電源線延配 PEX 8*4芯 22M","迴",4]
[7,"電源線延配 PEX 5.5*3芯 22M","迴",68]
[8,"鋁線架 60*10","M",25]
[9,"鋁線架 60*10//吊裝工資","工",2]
[10," 二線控燈具開關改移配線","迴",4]
[11,"新增燈具迴路//2.0*2+E1.6","迴",4]
[12,"燈具配管及配線","盞",43]
[13,"輕鋼架燈具//T5 28W*3 6500K","盞",43,null,null,"同現場燈具"]
[14,"燈具安裝","盞",43]
[15,"新增110V電源配線5.5*2+E2.0","迴",9]
[16,"OA桌3孔插座及配線","只",46]
[17,"EMT管及五金配件","式",1]
[18,"金屬防水軟管含配件","M",120]
[19,"配管配線工資","工",25]
[null,"小計"]
["(六)","弱電工程"]
[1,"既有隔間電話及網路插座及配線拆除","工",2]
[2,"CAT.6/4P UTP CABLE","M",6340]
[3,"CAT.6-RJ45 Key Stone Module(型號同現況)","只",92]
[4,"資通訊插座(型號同現況)","只",92]
[5,"現場端用跳線面板(CAT.6-24 PORT)(型號同現況)","支",1]
[6,"CAT.6 UTP PATCH CORD-2m","條",92]
[7,"CAT.6 UTP PATCH CORD-3m","條",92]
[8,"24-port L2 Switch","只",1,null,null," "]
[9,"佈線工資","工",18]
[10,"配線另料及運雜","式",1]
[11,"測試(含測試報告)及竣工文字製作","式",1]
[12,"金屬防水軟管","M",950]
[13,"出線盒","只",48]
[14,"配管工資","工",16]
[15,"配管另料(含管接、彎頭及盒接)及雜運","式",1]
[16,"703室新增投影機吊架及安裝//含110V插座+HDMI+VGA線路","式",1,null,null,"不含投影機"]
[17,"725室新增投影機吊架及安裝//含110V插座+HDMI+VGA線路","式",1,null,null,"不含投影機"]
[18,"電話會議系統建置工程(Polycom SoundStation 2EX+2Mics)","組",1]
[null,"小計"]
["(七)","消防工程"]
[1,"緊急壓扣拆除","只",5]
[2,"緊急壓扣配管配線及移位安裝","只",5]
[3,"照明燈拆除","只",5]
[4,"照明燈配管配線及移位安裝","只",5]
[5,"廣播喇叭拆除","只",5]
[6,"廣播喇叭配管配線及移位安裝","只",5]
[7,"輕鋼架下倒式防煙垂壁","M",22.6]
[8,"下倒式防煙垂壁控制系統銜接工料","式",1]
[9,"排煙機進風口高低調整//配合輕鋼架天花高度","式",1]
[10,"消防系統連結測試","工",4]
[null,"小計"]
["(八)","地舖面工程"]
[1,"滿鋪PVC地毯","M2",210,null,null,"同現場型號"]
[2,"踢腳板","式",1]
[null,"小計"]
["(九)","油漆工程"]
[1,"壁面批土打磨刷綠建材水泥漆","式",1]
[null,"小計"]
["(十)","既有辦公家具工程"]
[1,"現有OA調整為2.5公分鋼製薄型屏風辦公桌//桌板140W 70D+側桌100W45D//含走線槽150W(拆裝含配件損料)","組",30]
[2,"現有OA調整為2.5公分鋼製薄型屏風辦公桌//桌板160W 70D+側桌120W45D//含走線槽150W(拆裝含配件損料)","組",1]
[3,"屏風走線柱//H:270","只",4]
[4,"ABS鍵盤架","只",5]
[5,"剩餘屏風家具搬遷至業主指定地點","工",4,null,null,"園區範圍內"]
[null,"小計"]
["(十一)","清潔工程"]
[1,"施工區域清潔工程","M2",346]
[null,"小計"]
[null,"7F裝修工程費小計"]
[null,"工程費小計"]
["貳","室裝竣工申請費（含消防竣工）","式",1]
["參","職業安全衛生管理費0.5%","式",1]
["1","安全鞋","雙",4]
["2","安全帽","頂",4]
["3","口罩","組",6]
["4","護目鏡","組",3]
["5","工作手套","雙",6]
["6","漏電無熔線斷路器","組",2]
["7","急救箱","個",1]
["8","安全告示牌","組",8]
["9","警示帶","捲",4]
["10","施工安全標誌及標語貼紙","張",8]
["11","安全衛生管理及計畫","式",1]
["12","緊急應變演習及安全衛生教育訓練宣導","式",1]
["肆","工程品質管理費0.6%","式",1]
["1","管理人員,品管人員","月",1]
["2","資料送審，各式施工詳圖、竣工書圖資料","式",1]
[null,"文件、電子檔、計劃書"]
["伍","管理及利潤費及雜項費6.5%","式",1]
["陸","保險費0.3%","式",1]
[null,"小計（壹~陸）","式",1]
["柒","營業稅5%","式",1]
[null,"總價(總計)","式",1]
["總計新台幣：                                            元整."]
["(請蓋公司章及負責人章)"]
["廠商:"]
["負責人:"]
["地址:"]
["電話："]

{"sheet":"OA標單詳細表","index":2,"n_rows":44,"n_cols":7,"rows_kept":44,"cut":false,"hidden":false,"merged":[[41,1,41,6],[42,1,42,6],[0,0,0,6],[1,0,1,6],[3,1,3,3],[3,5,3,6],[4,1,4,3],[43,1,43,6],[4,5,4,6],[38,0,38,6],[39,0,39,6],[40,1,40,6]],"flags":["formulas_cached_only"]}
["衛生福利部食品藥物管理署"]
["OA標單詳細表"]
[]
["工程名稱","108年度「國家生技研究園區F棟辦公室空間整修」"]
["施工地點","國家生技研究園區F棟"]
["項 次","項  目  及  說  明","單 位","數 量","單 價","複 價","編碼(備註)"]
["壹","發包工程費"]
["一","3F辦公家具費"]
["1","2.5公分鋼製薄型屏風辦公桌/桌板150W 70D/含走線槽150W","組",4,null,null,"  "]
["2","ABS鍵盤架","只",4]
[null,"3F辦公家具費小計"]
["二","5F辦公家具費"]
["1","2.5公分鋼製薄型屏風辦公桌//桌板140W 70D+側桌100W45D//含走線槽150W","組",34]
["2","ABS鍵盤架","只",34]
["3","屏風走線柱//H:270","只",5]
[null,"5F辦公家具費小計"]
["三","7F辦公家具費"]
["1","2.5公分鋼製薄型屏風辦公桌//桌板140W 70D+側桌100W45D//含走線槽150W","組",14]
["2","2.5公分鋼製薄型屏風辦公桌//桌板160W 70D+側桌120W45D//含走線槽150W","組",1]
["3","ABS鍵盤架","只",14]
["4","屏風走線柱//H:270","只",4]
[null,"7F辦公家具費小計"]
[null,"總價(總計)","式",1]
{"$rows_empty":15}
["總計新台幣：                                            元整."]
["(請蓋公司章及負責人章)"]
["廠商:"]
["負責人:"]
["地址:"]
["電話："]