{"text_format":"2","workbook":"xls","n_sheets":2,"sheets":["Sheet1","Sheet2"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":3,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":153,"n_cols":6,"rows_kept":153,"cut":false,"hidden":false,"merged":[[1,4,2,5]],"flags":["formulas_cached_only"]}
[]
[{"$nulls":4},"規格需求說明書附件"]
[]
["【分項三】粉碎杯"]
["預算金額：500,000元"]
["1.送貨包裝量與規格包裝量不同時，須至少符合兩者相乘之總量。"]
["品     名","規     格","廠     牌","型     號","單     價","單位"]
["40mL 拋棄式粉碎杯","(100 個/包)","德國 IKA","MT40",48500,"包"]
["拋棄式上蓋","(100 個/包)","德國 IKA","MT40",5250,"包"]
["Arsenic As - 1000 mg/l  in diluted HNO3 for ICP","100ml","CPAchem","C003.2NP.L1",3800,"瓶"]
["Lead Pb - 1000 mg/l  in diluted HNO3 for ICP","100ml","CPAchem","C041.2NP.L1",3800,"瓶"]
["Cadmium Cd - 1000 mg/l  in diluted HNO3 for ICP","100ml","CPAchem","C010.2NP.L1",3750,"瓶"]
["Mercury Hg - 1000 mg/l  in diluted HNO3 for ICP","100ml","CPAchem","C024.10NP.L1",3800,"瓶"]
["Chromium Cr - 10 g/l  in diluted HNO3 for ICP","500ml","CPAchem","C113.5NP.L5",7600,"瓶"]
["Iron Fe - 10 g/l  in diluted HNO3 for ICP","500ml","CPAchem","C119.5NP.L5",7600,"瓶"]
["Cobalt Co - 10 g/l  in diluted HNO3 for ICP","500ml","CPAchem","C112.5NP.L5",7600,"瓶"]
["Boron B - 10 g/l  in H2O for ICP","500ml","CPAchem","C105.W.L5",8200,"瓶"]
["Ruthenium Ru - 10 g/l in diluted HCl for ICP","500ml","CPAchem","C148.10CP.L5",42000,"瓶"]
["Nickel Ni - 10 g/l  in diluted HNO3 for ICP","500ml","CPAchem","C138.5NP.L5",7600,"瓶"]
["Tantalum Ta - 10 g/l  in diluted HNO3/HF for ICP","500ml","CPAchem","C157.5N2FP.L5",7800,"瓶"]
["Platinum Pt - 10 g/l  in diluted HCl for ICP","500ml","CPAchem","C144.10CP.L5",53500,"瓶"]
["4 components;  1000mg/l each of Chlorides (Cl-) ; Nitrates\n (NO3-) ; Phosphates (PO43-) ; Sulphates (SO42-)  in Water","100ml","CPAchem","RM000214L1",4250,"瓶"]
["8 components;  1000mg/l each of  Cd ;  Cu ;  Ni ;  Zn ;  Pb ;  Cr ;  Hg ;  As  in HNO3 5% . \nCRM, ISO 17034 and ISO 17025\nConservation 24 months. (12 months after opening).\nStore under normal laboratory conditions, at temperatures between 15° to 25°C\n","100ml","CPAchem","RM037675L1",10500,"瓶"]
["8 components;  1000mg/l each of  Cd ;  Cu ;  Ni ;  Zn ;  Pb ;  Cr ;  Hg ;  As  in HNO3 5% . \nCRM, ISO 17034 and ISO 17025\nConservation 24 months. (12 months after opening).\nStore under normal laboratory conditions, at temperatures between 15° to 25°C\n","250ml","CPAchem","RM037675L25",14000,"瓶"]
["6 components;  1000mg/l each of  Cd ;  Cu ;  Ni ;  Zn ;  Pb ;  Cr  in HNO3 5% . \nCRM, ISO 17034 and ISO 17025\nConservation 24 months. (12 months after opening).\nStore under normal laboratory conditions, at temperatures between 15° to 25°C\n","100ml","CPAchem","RM014937L1",9000,"瓶"]
["12 components;  As 2.5mg/l ;  Cd 0.5mg/l ;  Cr 5mg/l ;  Hg 0.2mg/l ;  Ni 5mg/l ;  Pb 5mg/l ;  Zn 5mg/l ;  Ba 2.5mg/l ;  Cu 5mg/l ;  Mo 3mg/l ;  Sb 0.5mg/l ;  Se 0.7mg/l  in HNO3 2%. \nCRM, ISO 17034 and ISO 17025\nConservation 8 months. (4 months after opening).\nStore under normal laboratory conditions, at temperatures between 15° to 25°C\n","100ml","CPAchem","E9A6.2D5.2N.L1",7000,"瓶"]
["Multi-Element Solution 3 with Hg: 30 components;  10mg/l each of  Ag ;  Al ;  As ;  Ba ;  Be ;  Bi ;  Ca ;  Cd ;  Co ;  Cr ;  Cs ;  Cu ;  Fe ;  Ga ;  Hg ;  In ;  K ;  Li ;  Mg ;  Mn ;  Na ;  Ni ;  Pb ;  Rb ;  Se ;  Sr ;  Tl ;  U ;  V ;  Zn  in HNO3 5% . \nCRM, ISO 17034 and ISO 17025\nConservation 12 months. (6 months after opening).\nStore under normal laboratory conditions, at temperatures between 15° to 25°C\n","100ml","CPAchem","N9301720.L1",13000,"瓶"]
["Primary Blue solution","100ml","CPAchem","CB004",3000,"瓶"]
["Primary Red solution","100ml","CPAchem","CB003",4500,"瓶"]
["Primary Yellow solution","100ml","CPAchem","CB002",3000,"瓶"]
["Standard solution B (brown)","125ml","CPAchem","B005",4850,"瓶"]
["Y007 Standard solution Y (yellow) ","125ml","CPAchem","Y007",4600,"瓶"]
["B105 Colour Reference Solutions B (B1-B9)","18ml","CPAchem","B105",7200,"瓶"]
["Y107 Colour Reference Solutions Y (Y1-Y7) ","14ml","CPAchem","Y107",7200,"瓶"]
["Fluorides (F- ) 1000 mg/l in H2O for IC.","500ml","CPAchem","H005.W.L5",1800,"瓶"]
["Chlorides (Cl- ) 1000 mg/l in H2O for IC","500ml","CPAchem","H003.W.L5",1800,"瓶"]
["Nitrites (NO2-) 1000 mg/l in H2O for IC","500ml","CPAchem","H012.W.L5",1800,"瓶"]
["IC陰離子管柱RYN-AC-1","1/支","SHINE","RNS-AC01",48000,"支"]
["IC陰離子管柱RYN-AC-3","1/支","SHINE","RNS-AC03",48000,"支"]
["IC陰離子管柱RYN-AC-4","1/支","SHINE","RNS-AC04",48000,"支"]
["IC陰離子管柱RYN-AC-5*OH","1/支","SHINE","RNS-AC05OH",48000,"支"]
["IC陰離子管柱RYN-AC-6","1/支","SHINE","RNS-AC06",48000,"支"]
["IC陰離子管柱RYN-AC-7","1/支","SHINE","RNS-AC07",48000,"支"]
["IC陰離子管柱RYN-AC-8","1/支","SHINE","RNS-AC08",48000,"支"]
["IC陰離子管柱RYN-AC-9","1/支","SHINE","RNS-AC09",48000,"支"]
["IC陰離子管柱RYN-AC-12A-3mm","1/支","SHINE","RNS-AC012A",48000,"支"]
["IC陰離子管柱RYN-AC-11*OH","1/支","SHINE","RNS-AC11OH",48000,"支"]
["IC陰離子五分快速管柱RYN-AP-3","1/支","SHINE","RNS-AP3",52000,"支"]
["IC陽離子管柱RYN-CC-3","1/支","SHINE","RNS-CC03",48000,"支"]
["IC保護管柱RYN-AG-1","1/支","SHINE","RNS-AG01",11000,"支"]
["IC保護管柱RYN-CG-1","1/支","SHINE","RNS-CG01",11000,"支"]
["前處理小柱C18","1ml*10/pk 5pk/bx","SHINE","RNS-SPEC-C18",4000,"盒"]
["前處理小柱H","1ml*10/pk 5pk/bx","SHINE","RNS-SPEC-H",4000,"盒"]
["前處理小柱Na","1ml*10/pk 5pk/bx","SHINE","RNS-SPEC-Na",4000,"盒"]
["前處理小柱HCO3-","1ml*10/pk 5pk/bx","SHINE","RNS-SPEC-HCO3",4000,"盒"]
["前處理小柱Ba","1ml*10/pk 5pk/bx","SHINE","RNS-SPEC-Ba",6000,"盒"]
["前處理小柱Ag","1ml*10/pk 5pk/bx","SHINE","RNS-SPEC-Ag",7800,"盒"]
["陰離子抑制器RYNY-A-6","1/顆","SHINE","RNS-S0A6",48000,"顆"]
["陽離子抑制器RYNY-C-3","1/顆","SHINE","RNS-S0C3",48000,"顆"]
["MCE 0.22um 5mm","100個/盒","ANOW","RNAS--ME002205",716.8,"盒"]
["MCE 0.45um 5mm","100個/盒","ANOW","RNAS--ME004505",716.8,"盒"]
["MCE 0.22um 13mm","100個/盒","ANOW","RNAS--ME002213",808.96,"盒"]
["MCE 0.45um 13mm","100個/盒","ANOW","RNAS-ME004513",808.96,"盒"]
["MCE 0.22um 25mm","100個/盒","ANOW","RNAS-ME002225",1064.96,"盒"]
["MCE 0.45um 25mm","100個/盒","ANOW","RNAS-ME004525",1013.76,"盒"]
["MCE 0.80um 25mm","100個/盒","ANOW","RNAS-ME008025",1013.76,"盒"]
["疏水PVDF 0.22um 5mm ","100個/盒","ANOW","RNAS-PF002205HPO",768,"盒"]
["疏水PVDF 0.45um 5mm","100個/盒","ANOW","RNAS-PF004505HPO",768,"盒"]
["疏水PVDF 0.45um 13mm","100個/盒","ANOW","RNAS-PF004513HPO",870.4,"盒"]
["疏水PVDF 0.22um 13mm","100個/盒","ANOW","RNAS-PF002213HPO",870.4,"盒"]
["疏水PVDF 0.22um 25mm","100個/盒","ANOW","RNAS-PF002225HPO",1064.96,"盒"]
["疏水PVDF 0.45um 25mm","100個/盒","ANOW","RNAS-PF004525HPO",1064.96,"盒"]
["親水PVDF 0.22um 5mm ","100個/盒","ANOW","RNAS-PF002205HPO",768,"盒"]
["親水PVDF 0.45um 5mm","100個/盒","ANOW","RNAS-PF004505",768,"盒"]
["親水PVDF 0.45um 13mm","100個/盒","ANOW","RNAS-PF004513",962.56,"盒"]
["親水PVDF 0.22um 13mm","100個/盒","ANOW","RNAS-PF002213",962.56,"盒"]
["親水PVDF 0.22um 25mm","100個/盒","ANOW","RNAS-PF002225",1249.28,"盒"]
["親水PVDF 0.45um 25mm","100個/盒","ANOW","RNAS-PF004525",1249.28,"盒"]
["CA 0.22um 13mm ","100個/盒","ANOW","RNAS-CA002213",808.96,"盒"]
["CA 0.45um 13mm","100個/盒","ANOW","RNAS-CA004513",808.96,"盒"]
["Nylon 0.22um 5mm","100個/盒","ANOW","RNAS-NN002205",768,"盒"]
["Nylon 0.45um 5mm","100個/盒","ANOW","RNAS-NN004505",768,"盒"]
["Nylon 0.22um 13mm","100個/盒","ANOW","RNAS-NN002213",808.96,"盒"]
["Nylon 0.45um 13mm","100個/盒","ANOW","RNAS-NN004513",768,"盒"]
["Nylon 0.22um 25mm","100個/盒","ANOW","RNAS-NN002225",1013.76,"盒"]
["Nylon 0.45um 25mm","100個/盒","ANOW","RNAS-NN004525",1013.76,"盒"]
["PES 0.22um 25mm","100個/盒","ANOW","RNAS-PS002225",1024,"盒"]
["PES 0.45um 25mm","100個/盒","ANOW","RNAS-PS004525",1024,"盒"]
["PES 8.0um 33mm","100個/盒","ANOW","RNAS-PS080033",768,"盒"]
["疏水PTFE 0.22um 5mm","100個/盒","ANOW","RNAS-PE002205",768,"盒"]
["疏水PTFE 0.45um 5mm","100個/盒","ANOW","RNAS-PE004505HPO",768,"盒"]
["疏水PTFE 0.22um 13mm","100個/盒","ANOW","RNAS-PE002213HPO",962.56,"盒"]
["疏水PTFE 0.45um 13mm","100個/盒","ANOW","RNAS-PE004513HPO",962.56,"盒"]
["疏水PTFE 0.22um 25mm","100個/盒","ANOW","RNAS-PE002225HPO",1249.28,"盒"]
["疏水PTFE 0.45um 25mm","100個/盒","ANOW","RNAS-PE004525HPO",1249.28,"盒"]
["疏水PTFE/5um/25mm/dual slip","100個/盒","ANOW","RNAS-PE050025HPO-DS",1280,"盒"]
["親水PTFE 0.22um 13mm    ","100個/盒","ANOW","RNAS-PE002213",962.56,"盒"]
["親水PTFE 0.45um 13mm","100個/盒","ANOW","RNAS-PE004513",962.56,"盒"]
["親水PTFE 0.22um 25mm","100個/盒","ANOW","RNAS-PE002225",1249.28,"盒"]
["親水PTFE 0.45um 25mm","100個/盒","ANOW","RNAS-PE004525",1249.28,"盒"]
["親水PTFE 0.45um 33mm","100個/盒","ANOW","RNAS-PE004533",1433.6,"盒"]
["親水PTFE 0.22um 33mm (50pcs/pk)","100個/盒","ANOW","RNAS-PE002233",1433.6,"盒"]
["CA 0.22um 33mm 50個/盒","100個/盒","ANOW","RNAS-CA002233",768,"盒"]
["PES 0.10um 5mm (滅菌 獨立包裝) 100個/包","100個/盒","ANOW","RNAS-PS001005SE",1075.2,"盒"]
["MCE 0.22um 13mm (滅菌 獨立包裝) ","50個/盒","ANOW","RNAS-ME002213SE100S",972.8,"盒"]
["MCE 0.22um 25mm (滅菌 獨立包裝) ","50個/盒","ANOW","RNAS-ME002225SE50S",563.2,"盒"]
["MCE 0.45um 25mm (滅菌 獨立包裝) ","50個/盒","ANOW","RNAS-ME004525SE",563.2,"盒"]
["PES 0.22um, 13mm (滅菌 獨立包裝) blister packing,","50個/盒","ANOW","RNAS-PS002213SE50S",537.6,"盒"]
["PES 0.22um,25mm (滅菌 獨立包裝) blister packing, ","50個/盒","ANOW","RNAS-PS002225SE",742.4,"盒"]
["PES 0.45um,25mm (滅菌 獨立包裝) blister packing, 50個/盒","50個/盒","ANOW","RNAS-PS004525SE",588.8,"盒"]
["PES 5.0um,25mm (滅菌 獨立包裝) blister packing, 50個/盒","50個/盒","ANOW","RNAS-PS050025SE",665.6,"盒"]
["PES 8.0um,25mm (滅菌 獨立包裝) blister packing, 50個/盒","50個/盒","ANOW","RNAS-PS080025SE",665.6,"盒"]
["PES 5.0um,33mm (滅菌 獨立包裝) blister packing, 50個/盒","50個/盒","ANOW","RNAS-PS050033SE",844.8,"盒"]
["PES 8.0um,33mm (滅菌 獨立包裝) blister packing, 50個/盒","50個/盒","ANOW","RNAS-PS080033SE",844.8,"盒"]
["PVDF 0.22um 13mm  (滅菌 獨立包裝) 50個/盒","50個/盒","ANOW","RNAS-PF002213SE50S",563.2,"盒"]
["PVDF 0.22um 25mm  (滅菌 獨立包裝) 50個/盒","50個/盒","ANOW","RNAS-PF002225SE",706.56,"盒"]
["PVDF 0.45um 13mm  (滅菌 獨立包裝) 50個/盒","50個/盒","ANOW","RNAS-PF004513SE",563.2,"盒"]
["PVDF 0.45um 25mm  (滅菌 獨立包裝) 50個/盒","50個/盒","ANOW","RNAS-PF004525SE",706.56,"盒"]
["PTFE 0.22um 13mm  (滅菌 獨立包裝) 100個/盒","50個/盒","ANOW","RNAS-PE002213SE",1126.4,"盒"]
["PTFE 0.22um 25mm  (滅菌 獨立包裝) 50個/盒","50個/盒","ANOW","RNAS-PE002225SE",706.56,"盒"]
["PTFE 0.45um 25mm  (滅菌 獨立包裝) 50個/盒","50個/盒","ANOW","RNAS-PE004525SE",706.56,"盒"]
["CA 0.22um 25mm  (滅菌 獨立包裝) 50個/包","50個/盒","ANOW","RNAS-CA002225SE",665.6,"盒"]
["CA 0.22um 25mm, C type double luer lock (滅菌 獨立包裝) 50個/盒","50個/盒","ANOW","RNAS-CAC002225SE",716.8,"盒"]
["Pipet-Aid  用過濾頭\nPES 0.8um +PTFE 0.8um 25mm \n(未滅菌 獨立包裝)\n","1個","ANOW","RNAS--PSPE008025",120,"個"]
["2ml, 9mm, 螺旋口, 乳白色, PP樣品瓶 Tread Screw vial","100個/盒","ANOW","RNAV-PV00209",302.08,"盒"]
["2ml, 9mm, 螺旋口, 透明, 不帶書寫條  Tread Screw vial","100個/盒","ANOW","RNAV-GVS00209T",245.76,"盒"]
["2ml, 9mm, 螺旋口, 透明, 帶書寫條  Tread Screw vial","100個/盒","ANOW","RNAV-GVS00209TL",302.08,"盒"]
["2ml, 9mm, 螺旋口, 褐色, 不帶書寫條  Tread Screw vial","100個/盒","ANOW","RNAV-GVS00209A",419.84,"盒"]
["2ml, 9mm, 螺旋口, 褐色, 帶書寫條  Tread Screw vial","100個/盒","ANOW","RNAV-GVS00209AL",471.04,"盒"]
["2ml, 8mm, 螺旋口,  透明, 不帶書寫條  Tread Screw vial","100個/盒","ANOW","RNAV-GVS00208T",235.52,"盒"]
["2ml, 8mm, 螺旋口, 透明, 帶書寫條  Tread Screw vial","100個/盒","ANOW","RNAV-GVS00208TL",307.2,"盒"]
["2ml, 8mm, 螺旋口,  褐色, 不帶書寫條 Tread Screw vial","100個/盒","ANOW","RNAV-GVS00208A",389.12,"盒"]
["2ml, 8mm, 螺旋口,  褐色, 帶書寫條 Tread Screw vial","100個/盒","ANOW","RNAV-GVS00208AL",542.72,"盒"]
["2ml, 11mm,  鉗口, 透明樣品瓶, 不帶書寫條  Crimp vial","100個/盒","ANOW","RNAV-GVC002011T",240.64,"盒"]
["2ml, 11mm, 鉗口,  透明樣品瓶, 帶書寫條 Crimp vial","100個/盒","ANOW","RNAV-GVC002011TL",348.16,"盒"]
["2ml, 11mm, 鉗口,  褐色樣品瓶, 不帶書寫條 Crimp vial","100個/盒","ANOW","RNAV-GVC002011A",358.4,"盒"]
["2ml, 11mm, 鉗口,  褐色樣品瓶,  帶書寫條 Crimp vial","100個/盒","ANOW","RNAV-GVC002011AL",409.6,"盒"]
["2ml, 11mm, 卡口,  透明樣品瓶, 不帶書寫條 snap vial","100個/盒","ANOW","RNAV-GVS002011T",199.68,"盒"]
["2ml, 11mm, 卡口,  透明樣品瓶,  帶書寫條 snap vial","100個/盒","ANOW","RNAV-GVS002011TL",281.6,"盒"]
["2ml, 11mm, 卡口,  褐色樣品瓶, 不帶書寫條 snap vial","100個/盒","ANOW","RNAV-GVS002011A",353.28,"盒"]
["2ml, 11mm, 卡口,  褐色樣品瓶, 帶書寫條 snap vial","100個/盒","ANOW","RNAV-GVS002011AL",409.6,"盒"]
["4ml, 13mm, 螺旋口, 透明樣品瓶, 不帶書寫條  Tread Screw vial","100個/盒","ANOW","RNAV-GVS004013T",409.6,"盒"]
["4ml, 13mm, 螺旋口, 透明樣品瓶, 帶書寫條  Tread Screw vial","100個/盒","ANOW","RNAV-GVS004013TL",496.64,"盒"]
["4ml, 13mm, 螺旋口, 褐色樣品瓶, 不帶書寫條  Tread Screw vial","100個/盒","ANOW","RNAV-GVS004013A",665.6,"盒"]
["4ml, 13mm, 螺旋口, 褐色樣品瓶, 帶書寫條  Tread Screw vial","100個/盒","ANOW","RNAV-GVS004013AL",808.96,"盒"]
["6ml, 20mm, 鉗口, 透明樣品瓶, 平底, 斜口瓶口 beveled, headspace vial","100個/盒","ANOW","RNAV-GVC006020T",399.36,"盒"]
["10ml, 20mm, 鉗口, 透明樣品瓶, 平底, 斜口瓶口 beveled, headspace vial","100個/盒","ANOW","RNAV-GVC0010020T",486.4,"盒"]
["20ml, 20mm, 鉗口, 透明樣品瓶, 平底, 斜口瓶口 beveled, headspace vial","100個/盒","ANOW","RNAV-GVC0020020T",727.04,"盒"]
["20ml, 20mm, 鉗口, 透明樣品瓶, 圓底, 斜口瓶口 beveled, 短頸, for Perkin/Elmer, 進樣器 headspace vial","100個/盒","ANOW","RNAV-GVC0020020T",727.04,"盒"]
["20ml, 24mm, 樣品儲存瓶, 透明","100個/盒","ANOW","RNAV-GV0020024T",742.4,"盒"]
["20ml, 24mm, 樣品儲存瓶, 褐色","100個/盒","ANOW","RNAV-GV0020024A",742.4,"盒"]
["40ml, 24mm, 樣品儲存瓶, 透明","100個/盒","ANOW","RNAV-GV0040024T",1049.6,"盒"]
["40ml, 24mm, 樣品儲存瓶, 褐色","100個/盒","ANOW","RNAV-GV0040024A",1049.6,"盒"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}